AC Power Surge Protection Device

ITEM NO.: SP001P-AC

Features:

- Performs a different function than grounding requirements.

- Protects equipment from high voltage surges from nearby lightning strikes.

- Application for protect  AC100-120V, AC220-240V power.

SP001P-AC  AC Power Surge protection Device Terminal Connector

Terminal connector to terminal connector.

Under 1ns –  400V

Installation View:

Specification:

| ITEM NO. | SP001P-AC |
| --- | --- |
| Surge Protection Attack Time | 1 ns |
| Maximum Surge Voltage | 4 KV |
| Surge Life | 300 surges of 100Amps |
| Normal Resistance Across Coax | 10,000 MΩ |
| Surge Resistance | Approx. 0Ω |
| BAND PASS | 0~1 GHZ |
| Power Passing Capability | AC 400Vp-p, 65 Vrms at 10 Amps |
| Connectors | Terminal |
| Dimensions W x H x D mm | 65x25x25 |
| WEIGHT g | 65 |